## Sheet1
Calibration Application Form
< Select >
Include the Manufacturer, Model & Serial Number of the Instrument(s) |  | In Good Working Order
Requires Repair Before Calibration
Item 1: |  | Unsure, Please inspect
Item 2:
Item 3:
Item 4:
Item 5:
Condition of Instrument(s)
< Select >
Item 1 | < Select > | UKAS
Item 2 | < Select > | Standard
Item 3 | < Select >
Item 4 | < Select >
Item 5 | < Select >
< Select >
The calibration I require is: |  | As Received
Pre & Post
Item 1 | < Select > | Post Adjustment
Item 2 | < Select >
Item 3 | < Select >
Item 4 | < Select >
Item 5 | < Select >
The measurement results I require are:
Item 1 | < Select >
Item 2 | < Select >
Item 3 | < Select >
Item 4 | < Select >
Item 5 | < Select >
As Received: We will issue a certificate with the results as we find them - whether the unit is within specification or not. Adjustment is not included in this option. Pre & Post Adjustment: If adjustment is necessary you will receive 2 certificates. One will show the measurements taken before any adjustment to the unit (i.e. as received figures), the other will show the measurements after any adjustment. Post Adjustment: You will only receive the latter certificate (showing the measurements after any adjustment). Adjustment is an additional charge.
The decision rule we use as standard is the ILAC-G8:09/2019 Section 4.2.3: ‘Non-Binary Statement with Guard Band’ model. If you require a different decision rule, please specify:
< Select >
Would you like us to send you a quote? |  | Yes
No
< Select >
If unit is electrical test equipment, compliance must meet: |  | < Select >
16th Edition
< Select > |  | 17th Edition
18th Edition
Are any of the units Dry Block Temperature Calibrators*?
< Select >
* If yes, please can you send an insert in with a hole of diameter not less than 6.3 mm. If the unit has multiple inserts, please advise if you have a preference as to which one should be used. If a suitable insert is not supplied, we will use our own insert for calibration.
Would you like us to arrange collection of the instruments?
Available to UK Customers only
< Select >
Our turnaround is normally 7-10 working days from receipt of your unit. If you require your instrument returned sooner than this please click on the box below and we will contact you with details and pricing for our FastTrack* service.
* Please note that if any faults are reported or found with the unit then we cannot guarantee our FastTrack service. |  | < Select >
Please provide FastTrack service
< Select > |  | Please provide Standard service
Your Details
Your Name
Company
Address
If you have already raised a Purchase Order, please enter the number here:
If you need the unit back by a certain date please tell us here.
Please add additional information below